## PE II Valve Timing
LVL1 |  |  | CAL |  |  | LVL3
Valve | On | Off | Valve | On | Off | Valve | On | Off
2 | 0.1 | 10.25 | 2 | 0.1 | 10.25 | 2 | 0.1 | 10.25
1 | 0.3 | 0.35 | 1 | 0.3 | 0.35 | 1 | 0.3 | 0.35
3 | 13.4 | 13.45 | 4 | 0.4 | 0.45 | 4 | 0.4 | 0.45
|  |  | 3 | 13.4 | 13.45 | 4 | 0.7 | 0.75
[6 empty] | 3 | 13.4 | 13.45
LVL4 |  |  | BLANK |  |  | SAMPLE
Valve | On | Off | Valve | On | Off | Valve | On | Off
2 | 0.1 | 10.25 | 2 | 0.1 | 10.25 | 2 | 0.1 | 10.25
1 | 0.3 | 0.35 | 1 | 0.3 | 0.35
4 | 0.4 | 0.45
4 | 0.7 | 0.75
4 | 0.9 | 0.95
3 | 13.4 | 13.45
LCS |  |  | RTS |  |  | SPIKE
Valve | On | Off | Valve | On | Off | Valve | On | Off
2 | 0.1 | 10.25 | 2 | 0.1 | 10.25 | 2 | 0.1 | 10.25
5 | 15 | 15.15 | 6 | 15 | 15.15 | 1 | 0.3 | 0.35
[6 empty] | 6 | 38 | 38.15
[6 empty] | 4 | 40 | 40.15
Relay Assignment |  |  | TD Relays
GC R1/TE1 | V1 (ZERO) |  | Relay | On | Off
GC TE2 | CUT-TIME |  | TD R1 | 0.05 | 0.1
GC R3/TE3 | V2 (SPAN) |  | TD R2 | 0.2 | 0.25
GC R4/TE4 | STEP/RESET (LCS/RTS)
GC R5/TE5 | V1 LCS
GC R6/TE6 | V2 RTS
TD R1 | RESET (ZERO/SPAN)
HOME
TD R2 | RESET (LCS/RTS)

## PE II Wiring
RTS/LCS Valve Box Wiring
Terminal | Function | Terminal Block Input
V1 | LCS | GC TE5/Relay 5
V2 | RTS | GC TE6/Relay 6
R | Reset | TD R2
R | Reset | Mvalve R2
R | Reset | GC TE4/Relay 4 | Diode between GC Relay4 and ( ʈ→) Reset
MP Blender Ribbon Cable
Terminal | Function |  | Wire color | Terminal Block Input
Home | Return to Restrictor 1 Position |  | Brown | TD R1
Step | Change Restrictor Position |  | Orange | GC TE4/Relay 4
V1 | Zero |  | Violet | GC TE1/Relay 1
Reset | Reset (Zero/Span) |  | Grey | TD R1, Mvalve R1
V2 | Span |  | White | TD TE3/Relay 3
Ground |  |  | Black
Diode between each ribbon wire and ( ←ϯ) terminal block
Mvalve Interface
Terminal | Function
R1 | Reset (Zero/Span)
R2 | Reset (LCS/RTS)
R3 | GC Ready Signal
GC Relays
Relay | Function |  | GC Time Event
R1 | V1 Zero |  | TE1
| Cut Time |  | TE2
R3 | V2 Span |  | TE3
R4 | Step/Reset (LCS/RTS) |  | TE4
R5 | V1 LCS |  | TE5
R6 | V2 RTS |  | TE6
TD Relays
Relay | Function
R1 | Home/Reset ( Zero/Span)
R2 | Reset (LCS/RTS)

## Markes Agilent
RTS/LCS Valve Box Wiring
Terminal | Function | Mvalve ¦ GC
V1 | RTS | 4
V2 | LCS | 5
R | Reset | 6 ¦ 8
R | Reset
R | Reset |  | Diode between GC Relay8 and ( ʈ→) Reset
MP Blender Ribbon Cable
Terminal | Function |  | Wire color | Terminal Block Input
Home | Return to Restrictor 1 Position |  | Brown | MV 8 ¦ GC7
Step | Change Restrictor Position |  | Orange | MV7
V1 | Zero |  | Violet | MV1
Reset | Reset (Zero/Span) |  | Grey | MV3 ¦ GC7
V2 | Span |  | White | MV2
Ground |  |  | Black
Diode between each ribbon wire and ( ←ϯ) terminal block
Mvalve Interface
Terminal | Function | Terminal | Funtion
MV1 | Zero | MV5 | LCS
MV2 | Span | MV6 | Reset (RTS/LCS)
MV3 | Reset (Zero/Span) | MV7 | Step
MV4 | RTS | MV8 | Home
GC Relays
Valve | Function
1 | Cut Time
7 | Reset (RTS/LCS)
8 | Reset (Zero/Span) ¦ Home